## Sheet1
Product Description | Model No. | Price | Last Purchase Date | ID | Party Name
SV35, 4TB Video Surveillance HDD Make: WD |  | 7373 | 2023-10-31 |  | 20 Computer Warehouse
CAT 6 armoured cable from IP cameras to PoE switch including RJ45 connectors at both end. Cable Make: SYSTIMAX, (Inner CAT6 Systimax Make , Armoureding Locally done) |  | 63 | 2025-04-23 |  | AADINATH CABLES
Control Cables : 2C x 1.5 mm2, Stranded Copper conductor,Type A ST1 PVC insulated, Armoured FRLS Cable 650 V as per (IS : 7098) IS 1554, |  | 65.7 | 2025-04-02 |  | AADINATH CABLES
8C (4Pair) X 1 sq.mm. Shielded Armed cable (Make : Polycab) BioClass Reader (Blue Colour) As per attached TDS |  | 189 | 2025-04-02 |  | AADINATH CABLES
4C (2Pair) X 1 sq.mm. Shielded Armed cable (Make : Polycab) RF Reader (Blue Colour) As per attached TDS |  | 118 | 2025-04-02 |  | AADINATH CABLES
2C (1Pair) X 1 sq.mm. Shielded Armed cable (Make : Polycab) Magnetic Lock (Blue Colour) As per attached TDS |  | 76 | 2025-04-02 |  | AADINATH CABLES
Loop Card for ZX Fire Alarm Control Panel Make: Morley | 795-072-100 | 15000 | 2025-03-06 |  | ADI Solutions
RS485 Card for ZX Fire Alarm Control Panel Make: Morley | 795-004-001 | 16500 | 2025-03-06 |  | ADI Solutions
Addressable Smoke Detector with base Make: Morley | HM-PSE-AP + MI/B501AP/IV | 1290 | 2025-03-06 |  | ADI Solutions
Addressable Manual Call Point with Back Box Make: Morley | HM/MCP/GLASS + Back Box | 2450 | 2025-03-06 |  | ADI Solutions
Addressable Hooter with base Make: Morley | WSO-PR-N05 + MI/B501AP/IV | 3150 | 2025-03-06 |  | ADI Solutions
Dxc2 Addressable Two Loop Fire Alarm Panel Make: Morley | 714/001/225 | 69500 | 2025-03-05 |  | ADI Solutions
Addressable Repeater Panel Make: Morley | 709-601-001 | 46000 | 2025-03-05 |  | ADI Solutions
Conventional Beam Detector Make: Morley | BEAM1224 + BEAM-SMK | 20800 | 2025-03-05 |  | ADI Solutions
Addressable Monitor Module Make: Morley | MI/DMMIE | 2095 | 2025-03-05 |  | ADI Solutions
Addressable Fault Isolator Module Make: Morley | MI/DISO | 2095 | 2025-03-05 |  | ADI Solutions
6W 6” Celling Mount Speaker LBD 0606W Make: Bosch | LBD 0606W | 640 | 2025-01-21 |  | ADI Solutions
120 Watts Mixer Amplifire Make: Bosch | PLE-1ME120-3IN | 16000 | 2025-01-21 |  | ADI Solutions
EPABX Controller 4CO / 12 Extns Make: Matrix | VISIONPRO412 | 11466 | 2025-01-28 |  | ADI Solutions
Desk Landline Telephone Make: Beetel | C-11 | 500 | 2025-01-28 |  | ADI Solutions
16CH NVR with 2 SATA HDD with PoE Make : Dahua | DHI-NVR4216-16P-4KS2/L | 13890 | 2023-05-02 |  | Aditya Infotech Ltd
2MP IP Bullet Camera 3.6mm Fixed Lens Make : Dahua | DH-IPC-B1B20P | 1550 | 2024-12-26 |  | Aditya Infotech Ltd
2MP IP Dome Camera, 2.8mm Fixed Lens Make : Dahua | DH-IPC-HDW1230SP-S4 | 2400 | 2023-05-02 |  | Aditya Infotech Ltd
4CH NVR with 1 SATA HDD without PoE Make : Dahua | DHI-NVR1104HS-S3/H | 2665 | 2023-05-12 |  | Aditya Infotech Ltd
4 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make: Dahua | DH-PFS3006-4GT-60 | 2940 | 2023-05-12 |  | Aditya Infotech Ltd
2MP IP Dome Camera, 3.6mm Fixed Lens | DH-IPC-HDW1230T1P-S4 | 2100 | 2023-05-26 |  | Aditya Infotech Ltd
2MP IR Bullet Vari-Focal Camera 2.8mm~12mm | DH-IPC-HFW1230T1P-ZS-S4 | 4368 | 2023-05-26 |  | Aditya Infotech Ltd
8 channel NVR with 90 Days storage capacity Make : Dahua | DHI-NVR4208-4KS3 | 5200 | 2024-12-26 |  | Aditya Infotech Ltd
8Ch PoE Switch Make : Dahua | DH-PFS3010-8GT-96 | 5000 | 2024-12-26 |  | Aditya Infotech Ltd
8 channel NVR Make : Dahua | DHI-NVR2108HS-4KS3 | 3850 | 2024-12-26 |  | Aditya Infotech Ltd
IP Dome type camera for production area (Ceiling Height 3Mtrs) Make : Dahua | DH-IPC-T1B20P | 1500 | 2024-12-26 |  | Aditya Infotech Ltd
IP Mini Dome Camera Make : Dahua | DH-IPC-HDBW2231F-AS-S2 | 4220 | 2024-12-26 |  | Aditya Infotech Ltd
16CH NVR with 2 SATA HDD without PoE Make : Dahua | DHI-NVR2216-4KS2 | 6300 | 2024-08-06 |  | Aditya Infotech Ltd
2MP IP Dome Camera, 2.8mm Fixed Lens Make : Dahua | DH-IPC-HDW1230T1P-A-S4 | 1730 | 2024-08-06 |  | Aditya Infotech Ltd
24 Port with PoE, Gigabit Network Switch with 2 Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3228-24GT-240 | 10500 | 2024-08-06 |  | Aditya Infotech Ltd
5MP IP Bullet Camera Make : Dahua | DH-IPC-HFW3541TP-ZAS | 10423 | 2024-07-24 |  | Aditya Infotech Ltd
8 Port with PoE, Gigabit Network Switch with 2 Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3010-8GT-65 | 2650 | 2024-07-09 |  | Aditya Infotech Ltd
2MP IP Bullet Camera, 6mm Fixed Lens Make: Dahua | DH-IPC-HFW1230M-A-I2-B-S5 | 2740 | 2024-06-06 |  | Aditya Infotech Ltd
64CH NVR with 4 SATA HDD without PoE Make : Dahua | DH-NVR5464EI | 30080 | 2024-05-03 |  | Aditya Infotech Ltd
ANPR Camera Make: Dahua | DHI-ITC413-PW4D | 34404 | 2024-05-03 |  | Aditya Infotech Ltd
16 Port with PoE, Gigabit Network Switch with 2 Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3218-16ET-135 | 6850 | 2024-05-03 |  | Aditya Infotech Ltd
8 Port with PoE, Gigabit Network Switch with 2Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3010-8ET-65 | 2745 | 2024-05-03 |  | Aditya Infotech Ltd
Electric RIM Lock Make: CP Plus | CP-TA-ER2A-NC(RHS) | 1154 | 2024-04-01 |  | Aditya Infotech Ltd
24 Port with PoE, Gigabit Network Switch with 2 Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3226-24ET-240 | 9400 | 2024-04-19 |  | Aditya Infotech Ltd
4 Port with PoE, Gigabit Network Switch with 2 Uplink (Unmanaged Switch) Make: Dahua | DH-PFS3006-4ET-60 | 2140 | 2024-04-19 |  | Aditya Infotech Ltd
Analog Video Intercom KIT Make: Dahua | DHI-KTA03 | 4160 | 2024-02-01 |  | Aditya Infotech Ltd
8CH NVR with 2 SATA HDD with 8 PoE Make : Dahua | DHI-NVR4208-8P-4KS2/L | 10786 | 2023-10-11 |  | Aditya Infotech Ltd
Indoor Monitor in White Color Side Panel Make: Dahua | DHI-VTH2421FW-P | 5125 | 2023-09-22 |  | Aditya Infotech Ltd
Backplate for Outdoor device Flush Mounted Box Make: Dahua | VTM114 | 902 | 2023-09-22 |  | Aditya Infotech Ltd
8 Feet Slotted Angle |  | 240 | 2024-07-10 |  | Ajooni Storage Systems
Single Mode LC type simplex Fiber patch Cord 5 Mtr |  | 170 | 2024-07-29 |  | ALTIMA HITECH
Single Mode LC type simplex Fiber patch Cord 1 Mtr |  | 70 | 2024-07-29 |  | ALTIMA HITECH
Open well submersible pump 3 phase, 5Hp , 40 mtr head. Make - Crompton | OWKS52G-48U | 22458 | 2024-02-23 |  | Ankur Trading Company
Addressable Manual Call Point with Back Box Make: Morley | HM/MCP/GLASS + BACK BOX | 2580 | 2024-01-17 |  | APSNP TECHNOLOGIES PRIVATE LIMITED
Addressable Hooter with Base Make: Morley | WSO-PR-N05 + B501 | 3400 | 2024-01-17 |  | APSNP TECHNOLOGIES PRIVATE LIMITED
Addressable Smoke Detector with Base Make - GST | DI-9102E + DB-01 | 1200 | 2024-08-16 |  | Atos Global LLP.
Addressable Netwokable 2 Loop Fire Alarm Panel With Two loop cards built in. Make - EST | EST 3X | 190000 | 2025-01-10 |  | Atos Global LLP.
Repeater Panel Make - EST | 3-LCDANN+ RLCM/B-S | 61200 | 2023-05-06 |  | Atos Global LLP.
Addressable Heat Detector with Base Make - EST | SIGA-HRD+ SIGA-SB | 2000 | 2024-09-09 |  | Atos Global LLP.
Reader/Door Interface; works with V1000 Master controller Dimensions - 5.8" W x 4.825" H x 1.275" D(147.32 mm x 122.55 mm x 32.38 mm) Make - HID | X1100 | 39175 | 2025-04-15 |  | Atos Global LLP.
Door interface controller (V-100) to reader/door interface, Work with V1000 master controller dimension = 5.8" W *4.825" H * 1.725" D Make - HID | X100 | 22540 | 2025-04-15 |  | Atos Global LLP.
Enclosure with Power Supply for Controllers Make - IDCUBE | Mcase | 6400 | 2025-04-15 |  | Atos Global LLP.
Readers License Make - IDCUBE | HR view | 6200 | 2025-04-15 |  | Atos Global LLP.
HID BioClass READER SE Make - HID | RKLB 40 | 54685 | 2025-04-15 |  | Atos Global LLP.
HID I -CLASS READER Make - HID | iClass (R10SE ) | 6900 | 2025-04-15 |  | Atos Global LLP.
Magnetic Lock with Required Bracket Make - EBELCO | 600 LEDMC + ZL-600 | 2707 | 2025-04-15 |  | Atos Global LLP.
Break Glass Unit (BGU) Make - EBELCO | E-108D | 740 | 2025-04-15 |  | Atos Global LLP.
Conventional Hooter Cum Flasher Make - Agni |  | 850 | 2025-03-31 |  | Atos Global LLP.
EST-3X Addressable 2 Loop expandable upto 6 loopFire Alarm Panel Make - EST | 3X-SFS1R + 3-SDC1 | 145000 | 2025-03-27 |  | Atos Global LLP.
Repeater Panel Make - EST | RLCD-C | 30000 | 2025-03-27 |  | Atos Global LLP.
Addressable Smoke Detector with Base Make - EST | SIGA-DS3I + SIGA-SB | 1650 | 2025-03-27 |  | Atos Global LLP.
Addressable Heat Detector with Base Make - EST | SIGA-DH2I + SIGA-SB | 1650 | 2025-03-27 |  | Atos Global LLP.
Addressable Multisensor Detector with Base Make - EST | SIGA-OSHD- FCN+ SIGA-SB | 1850 | 2025-03-27 |  | Atos Global LLP.
Addressable Manual Call Point Make - EST | SIGA-270 | 2350 | 2025-03-27 |  | Atos Global LLP.
Conventional Hooter cum Strobe Make - EST | G4AVRF | 1800 | 2025-03-27 |  | Atos Global LLP.
Addressable Single Input Single Module Make - EST | SIGA-CC1 | 2100 | 2025-03-27 |  | Atos Global LLP.
Addressable Isolater Module Make - EST | SIGA-IM2 | 1900 | 2025-03-27 |  | Atos Global LLP.
Addressable Monitor Module Make - EST | SIGA-CT1 | 1800 | 2025-03-27 |  | Atos Global LLP.
Addressable Duct Detector with Base Make - EST | SIGA-SD+ SD-T8 | 5750 | 2025-03-27 |  | Atos Global LLP.
Addressable Relay Module Make - EST | SIGA-CR | 2050 | 2025-03-27 |  | Atos Global LLP.
Backplate for G4AVRF Hooter Make - Edwards | GRSW-1 | 600 | 2024-03-07 |  | Atos Global LLP.
UV Flame Detector with Base Make - GST | C-9104 + DZ03 | 7500 | 2024-02-27 |  | Atos Global LLP.
Conventional Hooter cum Strobe Make - EST | G4AVRF-GP-1 | 2850 | 2023-11-17 |  | Atos Global LLP.
PA Paging MIC Console Make : Ahuja | APZ-501RM | 14410 | 2024-12-20 |  | Audrix Pro
6W PA Celling Speaker Make : Ahuja | CS-5061T | 887 | 2024-10-28 |  | Audrix Pro
12W PA Column Speaker Make : Ahuja | ASC-20T | 2342 | 2024-10-28 |  | Audrix Pro
PA 10 Zone Controller Make : Ahuja | APZ-502CU | 29430 | 2024-11-14 |  | Audrix Pro
2500W PA Power Amplifier Make : Ahuja | SPA-25000 | 51520 | 2024-11-14 |  | Audrix Pro
USB Player Make : Ahuja | ADP-30R | 3030 | 2024-11-14 |  | Audrix Pro
Customized AMP for Fire Panel Make : Ahuja | DPA-370 | 5400 | 2024-11-14 |  | Audrix Pro
1000W PA Mixer Amplifier Make : Ahuja | SSA-10000 | 39638 | 2024-11-14 |  | Audrix Pro
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 6" 150mm NB Galvd Heavy P/E |  | 1582 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 4" 100mm NB Galvd Heavy P/E |  | 1075 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 3" 80mm NB Galvd Heavy P/E |  | 749 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 21/2" 65mm NB Galvd Heavy P/E |  | 603 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 11/2" 40mm NB Galvd Heavy P/E |  | 343 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 11/4" 32mm NB Galvd Heavy P/E |  | 297 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make: Jindal 1" 25mm NB Galvd Heavy P/E |  | 230 | 2023-04-04 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 6" 150mm NB Black Heavy P/E |  | 1129 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 3" 80mm NB Black Heavy P/E |  | 530 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 2" 50mm NB Black Heavy P/E |  | 331 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 11/2" 40mm NB Black Heavy P/E |  | 236 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 11/4" 32mm NB Black Heavy P/E |  | 201 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
M.S. ERW C Class pipes as per IS 1239 / 3589 Make - Jindal 1" 25mm NB Black Heavy P/E |  | 157.5 | 2025-02-14 |  | Bhushan Tubes Pvt. Ltd.
IR Dome Camera 2.8mm Fixed Lens Make : Hikvision | DS-2CE76D0T-ITPFS | 680 | 2024-12-02 |  | B-Tech Security Pvt. Ltd.
16CH NVR without PoE Make - Hikvision | DS-7616NI-Q2 | 6118 | 2024-11-08 |  | B-Tech Security Pvt. Ltd.
IR Bullet Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE1AD0T-ITP-ECO | 610 | 2024-11-14 |  | B-Tech Security Pvt. Ltd.
2MP IP Bullet Camera, 3.6mm Fixed Lens Make: Dahua | DH-IPC-HFW1230S1P-A-S4 | 1790 | 2024-08-05 |  | B-Tech Security Pvt. Ltd.
8CH DVR with 1 SATA HDD Make: Hikvision | IDS-7108HQHI-M1/S | 4260 | 2024-04-18 |  | B-Tech Security Pvt. Ltd.
SV35 2TB Video Surveillance HDD Make : Seagate |  | 4200 | 2024-04-18 |  | B-Tech Security Pvt. Ltd.
16CH NVR with 2 SATA HDD with PoE Make : Dahua | DHI-NVR4216-16P-4KS2/L | 14000 | 2024-02-16 |  | B-Tech Security Pvt. Ltd.
16CH NVR with 2 SATA HDD without PoE Make : Dahua | DHI-NVR4216-4KS2L | 6050 | 2024-02-16 |  | B-Tech Security Pvt. Ltd.
16 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make: Dahua | DH-PFS3218-16ET-135 | 7200 | 2024-02-16 |  | B-Tech Security Pvt. Ltd.
4CH NVR with 1 SATA HDD without PoE Make : Dahua | DHI-NVR1104HS-S3/H | 2625 | 2024-01-02 |  | B-Tech Security Pvt. Ltd.
2MP IP Dome Camera, 3.6mm Fixed Lens Make: Dahua | DH-IPC-HDW1230T1P-A-S4 | 1900 | 2024-01-02 |  | B-Tech Security Pvt. Ltd.
4 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make: Dahua | DH-PFS3006-4GT-60 | 2850 | 2024-01-02 |  | B-Tech Security Pvt. Ltd.
2MP IR Bullet Vari-Focal Camera 2.8mm~12mm Make : Dahua | DH-IPC-HFW1230T1P-ZS-S4 | 4300 | 2023-12-19 |  | B-Tech Security Pvt. Ltd.
24 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make: Dahua | DH-PFS3228-24GT-240 | 13950 | 2023-11-18 |  | B-Tech Security Pvt. Ltd.
8 Port with PoE, Gigabit Network Switch Unmanaged Switch) Make: Dahua | DH-PFS3010-8GT-65 | 5450 | 2023-11-18 |  | B-Tech Security Pvt. Ltd.
1.5 SQMM X 2C CU.ARMD FRLS RED CABLE Make: Polycab |  | 52 | 2024-09-03 |  | Capital Cables (India) Pvt. Ltd.
2 Core 1sqmm Flexible Cable Make: Polycab |  | 24 | 2024-09-03 |  | Capital Cables (India) Pvt. Ltd.
6U Rack with all accessories Make : Netrack |  | 3850 | 2025-03-22 |  | Chandra Technology
4U Rack with all accessories Make : Netrack |  | 2900 | 2025-02-13 |  | Chandra Technology
8 Port POE switch(Din rail mounted preferred) Make : Aruba | JL811A | 13700 | 2024-12-27 |  | Chandra Technology
32U Rack Make : Netrack |  | 31500 | 2024-10-18 |  | Chandra Technology
27U Rack, Fan , 5 tray, 1Cable Manager, 6 Socket 2 PDU Make : Netrack |  | 23900 | 2024-07-04 |  | Chandra Technology
12 Port LIU Full Loaded Rack Mount Make : D-Link |  | 4500 | 2024-07-04 |  | Chandra Technology
32 Zone Repeater Panel Make : Ravel | RE-32RP | 9250 | 2024-10-07 |  | Chatur Parmanand Vaswani
2 Zone Conventional Fire Alarm Panel Make : Ravel | RE-102R | 4100 | 2025-01-16 |  | Comfort Fire & Safety Solutions LLP
Conventional Heat Detector with Base Make : Ravel | RE-316H-2L | 560 | 2025-01-16 |  | Comfort Fire & Safety Solutions LLP
Conventional Smoke Detector with Base Make : Ravel | RE – 326 2SL | 560 | 2025-01-16 |  | Comfort Fire & Safety Solutions LLP
8 Zone Conventional Fire Alarm Panel Make : Ravel | RE-2558 | 10500 | 2025-01-18 |  | Comfort Fire & Safety Solutions LLP
Conventional Manual Call Point Make : Ravel | RE-716 | 380 | 2025-01-18 |  | Comfort Fire & Safety Solutions LLP
Conventional Hooter Make : Ravel | RE-24CS | 480 | 2024-11-15 |  | Comfort Fire & Safety Solutions LLP
USB Cable 3.0 (15 mtr) |  | 850 | 2023-10-18 |  | Connector Point
Detector Base Make: Simplex | 4098-9789 | 1200 | 2025-05-16 |  | Devi Karam Associates
Flow Switch Make: Honeywell | WFS6000 | 1350 | 2024-10-10 |  | Devi Karam Associates
Addressable Manual Call Point with Back Box Make: Morley | HM/MCP/GLASS + BACK BOX | 1600 | 2024-09-30 |  | Devi Karam Associates
Addressable Hooter with Base Make: Morley | WSO-PR-N05+B501 | 5060 | 2024-09-30 |  | Devi Karam Associates
Repeater Panel for ZX5Se Fire Alarm Control Panel | 709-601-001 | 50500 | 2023-04-25 |  | Devi Karam Associates
Addressable Multisensor Detector with Base | HM/PTSE/AP+B501 | 1650 | 2024-09-30 |  | Devi Karam Associates
Conventional Beam Detector with Reflector Plate 50 mtrs Range Make: System Sensor | BEAM 1224 | 23760 | 2023-04-25 |  | Devi Karam Associates
Addressable Monitor Module Make: Morley | MI-DMMI | 2142 | 2023-04-25 |  | Devi Karam Associates
Addressable Isolater Module Make: Morley | MI-DISO | 2200 | 2025-03-11 |  | Devi Karam Associates
Digital Linear Heat DETECTOR (68 Deg C)-System Sensor UL/ FM Approved Make: System Sensor | SS-LD-68-155-100 | 220 | 2023-05-06 |  | Devi Karam Associates
2 Zone Conventional Fire Alarm Panel Make : Ravel | RE-102R | 4100 | 2024-02-26 |  | Devi Karam Associates
Conventional Smoke Detector with Base Make : Ravel | RE – 326 2SL | 550 | 2023-10-18 |  | Devi Karam Associates
Conventional Heat Detector with Base Make : Ravel | RE – 316H 2L | 560 | 2024-02-26 |  | Devi Karam Associates
Conventional Hooter Make : Agni |  | 320 | 2023-10-18 |  | Devi Karam Associates
Conventional Hooter Cum Strobe Make - Agni | Agni-405 | 750 | 2025-04-22 |  | Devi Karam Associates
Zone Card for RE-2558 Conventional Fire Alarm Panel | 25xxZB-RI (8Z) | 4265 | 2025-04-07 |  | Devi Karam Associates
150mm Flow Switch Make - System Sensor | WFD60 | 4200 | 2025-03-13 |  | Devi Karam Associates
Addressable Smoke Detector Head with Base Make: Morley | HM/PSE-AP + B501 | 1320 | 2025-05-16 |  | Devi Karam Associates
Addressable Monitor Module Make: Morley | MI/DMMIE | 2250 | 2025-02-12 |  | Devi Karam Associates
Addressable Smoke Detector Head with Base Make: Simplex | 4098-9714 + 4098-9789 | 2100 | 2025-01-17 |  | Devi Karam Associates
Addressable Relay Module Make: Simplex | 4090-9002 | 2125 | 2025-01-18 |  | Devi Karam Associates
Addressable Heat Detector Head with Base Make: Morley | HM/RHSE/AP+B501 | 1600 | 2024-09-30 |  | Devi Karam Associates
Intrinsically Safe Smoke Detector with Base Make: System Sensor | JTY-GD-2151EIS + B/401 | 5601 | 2024-09-30 |  | Devi Karam Associates
Motherboard for Morley DXc2 Fire Alarm Panel Make - Morley | 795/110/002 | 55859 | 2024-08-27 |  | Devi Karam Associates
Addressable Manual Call Point Make: Simplex | 4099-9006 | 2550 | 2024-08-14 |  | Devi Karam Associates
Addressable Hooter Make: Simplex | 49AO-WRF | 2950 | 2024-08-14 |  | Devi Karam Associates
Conventional Manual Call Point Make : Revel | RE-716 | 380 | 2024-08-20 |  | Devi Karam Associates
Conventional Hooter Make : Ravel | RE-24CS | 480 | 2024-08-20 |  | Devi Karam Associates
Tyco make pendant Type sprinkler 15 MM SRSC 57 Deg TY 325 Make: Tyco |  | 365 | 2024-08-07 |  | Devi Karam Associates
Power Supply Card for ZX5Se Fire Alarm Panel Make: Morley | 796-178 | 94000 | 2024-08-05 |  | Devi Karam Associates
Repeater Panel for 4100ES Fire Alarm Panel Make: Simplex | 4603-9101 | 22000 | 2024-08-07 |  | Devi Karam Associates
Addressable Monitor Module Make: Simplex | 4090-9001 | 1480 | 2024-08-07 |  | Devi Karam Associates
Addressable Control Module Make: Morley | MI/DCMOE | 2489 | 2024-07-31 |  | Devi Karam Associates
Addressable ZX series 2 Loop Fire Alarm Panel Make: Morley | 720-001-301 | 103107 | 2024-07-25 |  | Devi Karam Associates
Addressable Control Module Make: Morley | MI/DCMOE | 2489 | 2024-07-31 |  | Devi Karam Associates
Conventional Hooter 24VDC Make : Agni |  | 350 | 2024-06-19 |  | Devi Karam Associates
Addressable Multisensor Detector Base Make: Morley | HM/PTSE/AP + B501 | 1758 | 2024-06-15 |  | Devi Karam Associates
Morley Back Box for Manual Call Point |  | 80 | 2024-07-08 |  | Devi Karam Associates
Intrinsically Safe Heat Detector with Base Make: System Sensor | JTWB-BCD-5151EIS + B/401 | 4865 | 2024-04-11 |  | Devi Karam Associates
Addressable Smoke Detector Head Make: Morley | HM-PSE-AP | 1264 | 2024-05-02 |  | Devi Karam Associates
Addressable Smoke Detector Base Make: Morley | B501 | 163 | 2024-05-02 |  | Devi Karam Associates
UV Flame Detector Make : TAKEX | FS-2000E | 11500 | 2024-04-17 |  | Devi Karam Associates
Addressable Manual Call Point Make: Notifier | NBG-12LX | 4500 | 2024-01-05 |  | Devi Karam Associates
Addressable Multisensor Detector with Base Make : Notifier | FSP/951T + B501/WHITE | 2300 | 2023-12-19 |  | Devi Karam Associates
Conventional Hooter Cum Strobe Make : System Sensor | SYS/HS | 2300 | 2023-12-19 |  | Devi Karam Associates
Addressable Relay Module Make : Notifier | FRM/1 | 2700 | 2023-12-19 |  | Devi Karam Associates
Addressable Monitor Module Make : Notifier | FMM-1 | 2200 | 2023-12-19 |  | Devi Karam Associates
Addressable Fault Isolator Module Make : Notifier | ISO-X | 2400 | 2023-12-19 |  | Devi Karam Associates
Addressable Single Loop Fire Alarm Control Panel Make: Notifier | NFS-320E | 160000 | 2023-11-09 |  | Devi Karam Associates
Addressable Mini Monitor Module Notifier Make : Notifier | FMM101 | 2200 | 2023-10-11 |  | Devi Karam Associates
2MP IP Bullet Vari-Focal Camera 12mm~2.8mm Lens Make : Uniview | IPC2322LB-ADZK-G | 6000 | 2024-11-28 |  | DHREEYA ELECTRONICS LLP
8CH NVR 1 SATA HDD with PoE Make : Uniview | NVR301-08LS2-P8 | 8500 | 2024-11-13 |  | DHREEYA ELECTRONICS LLP
2MP IR Bullet Camera 4MM Fixed Lens Make : Hikvision | DS2CE16DOTITPFS | 790 | 2024-07-12 |  | DHREEYA ELECTRONICS LLP
2MP IR Dome Camera 2.8MM Fixed Lens Make : Hikvision | DS2CE76DOTITPFS | 750 | 2024-07-12 |  | DHREEYA ELECTRONICS LLP
Addressable Smoke Detector Head with Base | HM/PSE/AP + B501/APIV | 1320 | 2024-10-07 |  | DigiMRO Distribution (India) Pvt. Ltd.
Panic Switch Make : Securico | SEISECPS | 230 | 2024-12-30 |  | DigiMRO Distribution (India) Pvt. Ltd.
GSM Dialer - GSM Voice and SMS Dialer - 2 Voice Messages; 30 numbers - Multiple Alarm and status SMS - 4 Line LCD Display Make: Securico | SEISECGSMD | 8290 | 2025-05-08 |  | DigiMRO Distribution (India) Pvt. Ltd.
Controller with Built-In 240 W Amplifier Make : Bosch | LBB 1990 | 153000 | 2025-04-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
240 W Power Amplifier Make : Bosch | LBD 1935 | 16800 | 2025-04-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
Call Station with Six Zone Make : Bosch | LBB 1956 | 30500 | 2025-04-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
6W ceiling mount speaker Make : Bosch | LBD 0606 | 655 | 2025-04-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
15W Compact ABS cabinet speaker Make : Bosch | LB2-UC15 | 7350 | 2025-04-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
SOLITAIRE 8 Zone Control Panel and inbuilt 2 Message 4 Number Speech Dialer Home Automation System with 4 Relay Control Automatic Arming Disarming and Remote Access through Telephone and Separate LCD Remote Key Pad included Make:- SECURICO | SEISEC08S | 10300 | 2025-04-22 |  | DigiMRO Distribution (India) Pvt. Ltd.
Two Zone Conventional Fire Alarm Panel Make : Ravel | RE-102 | 4000 | 2025-05-13 |  | DigiMRO Distribution (India) Pvt. Ltd.
Conventional Hooter Cum Strobe Make : Ravel | RE25SS | 1150 | 2025-05-13 |  | DigiMRO Distribution (India) Pvt. Ltd.
Conventional Manual Call Point Make : Ravel | RE716MR | 360 | 2025-05-13 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Smoke Detector Make : EST | SIGA-OSD-IN | 1680 | 2025-03-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
Base for Detector Make : EST | SIGA-SB | 220 | 2025-03-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
16 Zone Conventional Fire Alarm Panel Make: Ravel | RE-9016 | 12800 | 2025-03-01 |  | DigiMRO Distribution (India) Pvt. Ltd.
8 Zone Conventional Fire Alarm Panel Make : System Sensor | 8Ze | 12100 | 2025-02-25 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Relay Module Make : GST | DI9301E | 2100 | 2024-12-27 |  | DigiMRO Distribution (India) Pvt. Ltd.
External Zone Wise Sounder Contact Circuit Via RS485 for RE9016 Conventional Fire Alarm Panel Make:- Ravel | REFRE90ZS20 | 7250 | 2024-12-03 |  | DigiMRO Distribution (India) Pvt. Ltd.
DXc1 Addressable Single Loop Fire Alarm Panel Make : Morley | 714001115 | 49500 | 2024-11-28 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Multisensor Detector Head with Base Make : Morley | HM/PTSE/AP+ B501/APIV | 1650 | 2024-09-21 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Hooter Cum Strobe with Base Make : Morley | WSS/PR/N05+ B501/APIV | 5060 | 2024-09-21 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Manual Call Point with Back Box Make : Morley | HM-MCP-GLASS + Back Box | 2450 | 2024-09-21 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Fault Isolator Module Make : Morley | MI/DISO | 2200 | 2024-09-21 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Monitor Module Make : Morley | MI/DMMIE | 2350 | 2024-09-21 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Fault Isolator Module Make : GST | DC-9503E | 1040 | 2024-09-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Mini Monitor Module Make : GST | DI-9300E | 1700 | 2024-09-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Manual Call Point Make : GST | DI-9204E | 1750 | 2024-09-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Smoke Detector Head with Base Make : GST | DI-9102E+ DB-01 | 1140 | 2024-09-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Single Loop Fire Alarm Panel Make : GST | GST200N-1 | 34000 | 2024-09-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Door Sensor Make : Securico | SEISECMS2 | 68 | 2024-08-16 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Smoke Detector Head Make : Morley | HM/PSE/AP | 1160 | 2024-07-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Addressable Heat Detector Head Make : Morley | HM/RHSE/AP | 1510 | 2024-07-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Base for Detector Make : Morley | B501 | 170 | 2024-07-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Conventional Hooter Cum Strobe Make : System Sensor | SYS/HS | 2180 | 2024-07-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
Conventional Smoke Detector without Base Make : Apollo | Series 65 | 480 | 2024-07-04 |  | DigiMRO Distribution (India) Pvt. Ltd.
16CH DVR 1 SATS HDD Make : Hikvision | DS-7116HGHI-K1 | 4675 | 2024-08-03 |  | Digital Infotech
SV35 2TB Video Surveillance HDD Make : Seagate |  | 4195 | 2025-02-11 |  | Digital Infotech
SV35 4TB Video Surveillance HDD Make : Seagate |  | 6992 | 2025-02-11 |  | Digital Infotech
SV35 1TB Video Surveillance HDD Make : Seagate |  | 3093 | 2025-02-11 |  | Digital Infotech
22" Monitor Make : LG |  | 4746 | 2025-02-11 |  | Digital Infotech
12th Gen.Corei3/ 8GB/512GB/15.6" FHD / Win 11 + MSO / Silver Make : HP | HP 15s- FD0061TU | 29873 | 2025-01-03 |  | Digital Infotech
Dell external dvd writer |  | 2331 | 2025-01-03 |  | Digital Infotech
24" Touch Interactive Monitor Make : Acer | VT240Y | 19407 | 2024-12-27 |  | Digital Infotech
V3030: 3YR-OVD3030S40103RINB3 Core™ i5-14400 14th Gen Intel® / 8GB / 512GB SSD / WIN11 + MS OFF 2021 / No dvd writer / D2020H VGA HDMI Led/keyboard and Mouse Wireless/3 Years Warranty Dell with 4GB Graphics Card Without Monitor Make : Dell |  | 54759.51 | 2024-12-03 |  | Digital Infotech
HP Laser 136w B&W Printer with Wi-Fi Direct: Print, Copy, Scan | 1188nw | 15200 | 2024-01-16 |  | Digital Infotech
BOCGSC4251 SINGLE COMPRESSION CABLE GLAND (4251) Make: Elcon |  | 583 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
BOCGSC2932 SINGLE COMPRESSION CABLE GLAND (2932) Make: Elcon |  | 178 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
BOCGSC2932 SINGLE COMPRESSION CABLE GLAND (2932) Make: Elcon |  | 178 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
BOCGSC2125 SINGLE COMPRESSION CABLE GLAND (2125) Make: Elcon |  | 118 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
FPHL450502C6 HDG AVG 66 MICRON LTCT WITH CP & HW 450 x 50 x 2 MM THK ( 50 x 15 , 35 x 15 ) Make: Elcon |  | 475 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
FPHL200502C6 HDG AVG 66 MICRON 200 X 50 X 2 MM THK (50 X 15, 35X15) WITH CP AND HW Make: Elcon |  | 371 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
FPHL150502C6 HDG AVG 66 MICRON LTCT WITH CP & HW 150 x 50 x 2.0 MM THK ( 50 x 15 , 35 x 15) Make: Elcon |  | 351 | 2024-04-12 |  | Elcon Cable Trays Pvt. Ltd.
Conventional quartzoid bulb type sprinkler with 15mm screwed end connection of 68/79 deg.C temperature rating, K-80 & orifice shall not be less than 6mm.Sprinklers shall be UL Listed and FM Approved Type of sprinklers SPRINKLER-K80-68°C-UPRIGHT Make:- Tyco |  | 185 | 2023-12-04 |  | Future Tech Systems
1.5 SQMM X 2C CU.ARMD FRLS RED CABLE Make: Polycab |  | 52 | 2024-09-03 |  | ELECTRO CONTROL CABLES
MAG.PICK UP-5/8"UNF 67mm Part No.: 100007760796 |  | 1165 | 2024-05-14 |  | Geekay Engineering Service
Metal Enclosure Housing |  | 3600 | 2025-05-12 |  | GLOBENEX PROJECTS PRIVATE LIMITED
Deluge Valve Model H3 - UL Listed (MOC - Ductile Iron) i) Deluge Valve - H3, Flanged ANSI B16.5, with DI Clapper & SS Seat (Catalogue No. HD 235) iii) Water Motor Gong Bell-GA, Type-A, UL Listed. Size – Size 80 NB Make - HD Fire |  | 37995 | 2024-09-18 |  | HD FIRE PROTECT PVT. LTD.
Accessories for Deluge Valve i) Electrical Release Trim Assembly for Deluge Valve with Two way Solenoid Valve, Weather Proof, 24 VDC Make - HD Fire |  | 5500 | 2024-09-18 |  | HD FIRE PROTECT PVT. LTD.
Test and Drain Valve, Model HD01, 1" NPT, 300 psi, Brass Construction, UL Listed & FM Approved Make - HD Fire |  | 4250 | 2023-12-06 |  | HD FIRE PROTECT PVT. LTD.
Alarm Valve Model H, Size 100NB with Constant Pressure Trim along with Gong Bell Make - HD Fire |  | 26520 | 2023-12-14 |  | HD FIRE PROTECT PVT. LTD.
ALARM TEST LINE ASSEMBLY 1/2" Make - HD Fire |  | 3600 | 2023-10-16 |  | HD FIRE PROTECT PVT. LTD.
FIRE PUMP(120M2+7.5J2+12VD) CONTROL PANEL |  | 185000 | 2024-03-01 |  | FALCON ELECTRICALS
BOOSTER PUMP(15HP DOL) CONTROL PANEL |  | 11000 | 2024-03-01 |  | FALCON ELECTRICALS
16 Port Giga PoE Switch Make - Hikvision | DS-3E1518P-EI/M | 8900 | 2024-11-08 |  | Firenix Technologies Pvt. Ltd.
Conventional Smoke Detector with Base Make : Apollo | 58000-316APO + 45681-210APO | 585 | 2025-05-13 |  | Fire Alarm & Audio Systems
Addressable 2 Loop Fire Alarm Panel Make : Apollo | ESA-1006 + ESA-3006 | 56500 | 2024-11-19 |  | Fire Alarm & Audio Systems
Addressable Smoke Detector with Base Make : Apollo | 58000-600 APO + 45681-210 APO | 1418 | 2024-11-19 |  | Fire Alarm & Audio Systems
Addressable Hooter Base Loop Make : Apollo | 45681-277 APO | 2950 | 2024-11-19 |  | Fire Alarm & Audio Systems
Addressable Manual Call Point Make : Apollo | SA5900-908 | 2525 | 2024-11-19 |  | Fire Alarm & Audio Systems
Conventional Optical Smoke Detector without Base Make : Apollo | Series 65 | 500 | 2024-07-03 |  | Fire Alarm & Audio Systems
Conventional Smoke Detector with Base Make : System Sensor | 2351E | 600 | 2025-05-13 |  | Fire Alarm & Audio Systems
“HD” Sprinkler 68 Deg. C, standard response, standard coverage, 1/2” NPT, K-5.6 (80), Pendent, Chrome Finish, UL Listed SIN: HD401 |  | 152 | 2023-04-14 |  | HD FIRE PROTECT PVT. LTD.
“HD” Sprinkler 68 Deg. C, standard response, standard coverage, 1/2” BSPT, K-5.6 (80), Pendent, Chrome Finish, UL Listed SIN: HD601 |  | 155 | 2024-09-03 |  | HD FIRE PROTECT PVT. LTD.
Alarm Valve Model H - UL Listed & FM Approved i) Alarm Valve Model H, Flanged end, UL Listed & FM Approved. Catalogue HD 247 ii) Constant Pressure Trim for Alarm Valve Model - H iii) Water Motor Gong Bell - GA, Type-A, UL Listed & FM Approved Size – 150NB Make - HD Fire |  | 31025 | 2024-06-18 |  | HD FIRE PROTECT PVT. LTD.
Alarm Valve Model H, Size 100NB with Constant Pressure Trim along with Gong Bell Make - HD Fire |  | 25990 | 2024-06-05 |  | HD FIRE PROTECT PVT. LTD.
U CAT-6 Armerd Cable Make: D-Link |  | 54 | 2024-09-03 |  | Infomac IT Solutions Pvt. Ltd.
16 Port Non PoE Unmanaged Switch Make: D-Link | DGS1016D | 4050 | 2024-09-05 |  | Infomac IT Solutions Pvt. Ltd.
6 Core (Single Mode) Fiber Armoured Cable Make: D-Link |  | 25 | 2024-06-24 |  | Infomac IT Solutions Pvt. Ltd.
8 Port Giga Network Switch Make: D-Link | DGS-1210-10 | 5900 | 2024-06-24 |  | Infomac IT Solutions Pvt. Ltd.
4-20mA Input Digital Meter with Scaling Make.: I-Therm | PI-88 | 600 | 2023-12-19 |  | Innovative Instruments & Controls LLP
Electromagnetic Door Lock Make:-eSSL | EML600-9-2 | 950 | 2024-09-11 |  | Inspiron Technology
Z Bracket |  | 535 | 2024-09-11 |  | Inspiron Technology
SS EXIT PUSH BUTTON Make:-eSSL |  | 165 | 2024-09-11 |  | Inspiron Technology
Electromagnetic Door Lock Make:-eSSL | EML600-7-5 | 950 | 2024-08-26 |  | Inspiron Technology
U Bracket Make:-eSSL |  | 220 | 2024-08-26 |  | Inspiron Technology
Proximity Card |  | 10 | 2024-08-26 |  | Inspiron Technology
Fingerprint Access Control System Make:-eSSL | X7+ID | 2260 | 2023-12-16 |  | Inspiron Technology
Addressable Smoke Detector Head with Base Make: Simplex | 4098-9714 + 4098-9789 | 2200 | 2024-08-13 |  | Intech Fire & Security Pvt. Ltd.
SPEAKER 25V/70VRMS RED TRUEALE Make: Simplex | 4902-9716 | 2510 | 2024-04-11 |  | Intech Fire & Security Pvt. Ltd.
Addressable Relay Module Make: Simplex | 4090-9002 | 2250 | 2024-04-11 |  | Intech Fire & Security Pvt. Ltd.
Addressable Monitor Module Make: Simplex | 4090-9001 | 1480 | 2025-02-19 |  | Intech Fire & Security Pvt. Ltd.
Aspirating Smoke Detection system panel with 1 pipe inlet, minimum 50 m2 coverage; Wide sensitivity range - 0.005%–20% obs/m; 4 alarm levels ; High efficiency aspirator; Clean air barrier optics protection; Easy to replace dual stage filter; 3 Nos of inbuilt potential free relay outputs;supports linear pipe length of 50 m or branched pipe up to 80 m; supports 40 Nos of EN54 Class A sampling points, AutoLearn for automatic setup of alarm threshold, Referencing & Event log. Approvals-UL, ULC, FM, VdS, CE, EN54-20. (1st Floor Network Room) VESDA system should consider with BMS (ON/OFF & Trouble status) Make - Xtrails | VLF-500-02 | 125000 | 2025-04-08 |  | Intech Fire & Security Pvt. Ltd.
Capillary Set | E700-CT + SP + SPLR + CSC + TA | 1800 | 2025-04-08 |  | Intech Fire & Security Pvt. Ltd.
Fireray 5000 Motorised Beam Smoke Detector 50 mtr with controller Make: Fireray | 5000-103 | 46500 | 2025-03-28 |  | Intech Fire & Security Pvt. Ltd.
Response Indicator Make - Agni |  | 65 | 2025-02-24 |  | Intech Fire & Security Pvt. Ltd.
Air Filter | VSP-005 | 6500 | 2025-02-24 |  | Intech Fire & Security Pvt. Ltd.
Addressable Heat Detector Head with Base Make: Simplex | 4098-9733 + 4098-9789 | 1900 | 2025-02-19 |  | Intech Fire & Security Pvt. Ltd.
Addressable Manual Call Point Make: Simplex | 4099-9006 | 2550 | 2025-02-19 |  | Intech Fire & Security Pvt. Ltd.
Addressable Hooter Cum Strobe Make: Simplex | 49AV-WRF | 3900 | 2025-02-19 |  | Intech Fire & Security Pvt. Ltd.
Addressable Multisensor Detector Head with Base Make: Simplex | 4098-9754 + 4098-9789 | 2650 | 2025-02-19 |  | Intech Fire & Security Pvt. Ltd.
CPU Card for 4100ES Fire Alarm Panel Make: Simplex | 4100-7158 | 54000 | 2025-01-27 |  | Intech Fire & Security Pvt. Ltd.
IDnet Base/Busbar Card Make: Simplex | 4100ES PDI BD | 17000 | 2025-01-04 |  | Intech Fire & Security Pvt. Ltd.
Repeater Panel for 4100ES Fire Alarm Panel Make: Simplex | 4603-9101 | 22000 | 2024-09-30 |  | Intech Fire & Security Pvt. Ltd.
Addressable Smoke Detector Head Make: Simplex | 4098-9714 | 1100 | 2024-09-30 |  | Intech Fire & Security Pvt. Ltd.
Detector Base Make: Simplex | 4098-9789 | 1050 | 2024-09-30 |  | Intech Fire & Security Pvt. Ltd.
Addressable Isolator Module Make: Simplex | 4090-9116 | 2450 | 2024-08-13 |  | Intech Fire & Security Pvt. Ltd.
Addressable Duct Detector with Sampling Tube Make: Simplex | 4098-9755 + 4098-9855 | 8330 | 2024-04-11 |  | Intech Fire & Security Pvt. Ltd.
I/O Module Make: Simplex | 2190-9173 | 4500 | 2024-05-13 |  | Intech Fire & Security Pvt. Ltd.
Loop Base Card for 4100ES Panel Make: Simplex | PDI BD | 16500 | 2023-12-27 |  | Intech Fire & Security Pvt. Ltd.
Display for 4100ES Fire Alarm Panel Make: Simplex |  | 85000 | 2023-12-28 |  | Intech Fire & Security Pvt. Ltd.
Loop Card for Fire Panel Make: Simplex | 4100-3109 | 19800 | 2023-11-29 |  | Intech Fire & Security Pvt. Ltd.
Cast Iron Gate Valve with P.N 1.6 150mm Dia Make - Hammer |  | 7850 | 2024-08-05 |  | International Tools & Hardware Suppliers
Cast Iron Butterfly Valve with P.N 1.6 Make - Kartar 150mm Dia |  | 2450 | 2024-07-20 |  | International Tools & Hardware Suppliers
Flange 150mm PCD 240 |  | 350 | 2024-07-20 |  | International Tools & Hardware Suppliers
Cast Iron Gate Valve with P.N 1.6 80mm Dia Make - Hammer |  | 3850 | 2024-06-03 |  | International Tools & Hardware Suppliers
9KG DCP (ST-PR) TYPE FIRE EXT MAP 40 Make - Intime |  | 1645 | 2024-12-12 |  | INTIME FIRE APPLIANCES PVT. LTD
Fire Bucket Non ISI Make - Intime |  | 275 | 2024-12-12 |  | INTIME FIRE APPLIANCES PVT. LTD
4U Rack with all accessories Make : Aadona |  | 2650 | 2024-06-29 |  | Itude Technologies Pvt. Ltd.
Addressable Manual Call Point Make: Notifier | NBG-12LX | 4955 | 2024-01-24 |  | Itude Technologies Pvt. Ltd.
Addressable Multisensor Detector with Base Make: Notifier | FSP/951T + B501/WHITE | 2145 | 2024-01-24 |  | Itude Technologies Pvt. Ltd.
Conventional Hooter Cum Strobe Make: Notifier | SYS/HS | 2739 | 2024-01-24 |  | Itude Technologies Pvt. Ltd.
Make: Notifier
Make: Notifier
Cast Iron Dual Plate Non Return Valve with flanges, nut bolt and other accessories Make - Kartar 80mm Dia |  | 1617 | 2024-05-23 |  | Jagit India Private Limited
Cast Iron Butterfly Valve with PN 16 (Make - Kartar) 150mm Dia |  | 2558 | 2025-03-20 |  | Jagit India Private Limited
Cast Iron Butterfly Valve with PN 16 (Make - Kartar) 100mm Dia |  | 1751 | 2025-03-20 |  | Jagit India Private Limited
Single Hydrant Valve ISI Marked Bhavi |  | 2750 | 2025-03-20 |  | Jagit India Private Limited
4 Way Inlet Valve ISI Marked Newage |  | 6900 | 2025-03-20 |  | Jagit India Private Limited
150mm Dia Cast Iron Dual Plate Non Return Valve Kartar |  | 4253 | 2025-03-17 |  | Jagit India Private Limited
100mm Dia Cast Iron Wafer Type Non Return Valve Kartar |  | 1370 | 2025-03-17 |  | Jagit India Private Limited
Pressure Gauge - 100mm (H GURU) Glycerin Filled with Calibration Certificate |  | 1250 | 2025-03-17 |  | Jagit India Private Limited
Air ReleaseValve 25mm |  | 842 | 2025-03-17 |  | Jagit India Private Limited
Ball Vlave 15mm |  | 180 | 2025-03-17 |  | Jagit India Private Limited
Nipple 15 X 100 mm |  | 25 | 2025-03-17 |  | Jagit India Private Limited
Double Hose Box (HEAVY) |  | 1911 | 2025-03-04 |  | Jagit India Private Limited
RRL Hose + SS Coupling (ISI) 15 M |  | 2401 | 2025-03-04 |  | Jagit India Private Limited
Branch Pipe SS ISI (BHAVI) |  | 882 | 2025-03-04 |  | Jagit India Private Limited
Hose Reel Drum ISI (SAFEX) 19mm Dia 30 Mtr Set |  | 4361 | 2025-03-04 |  | Jagit India Private Limited
Test & Drain Valve 25mm (NEWAGE) |  | 3400 | 2025-03-04 |  | Jagit India Private Limited
Test & Drain Valve 50mm (NEWAGE) |  | 7350 | 2025-03-04 |  | Jagit India Private Limited
CI Sluice Valve PN-1.6 (Flanged)PN-1.6ISI 150mm Dia Make - Zoloto |  | 16500 | 2025-03-04 |  | Jagit India Private Limited
30 Mtr Pipe for Hose Reel Drum |  | 1140 | 2025-03-04 |  | Jagit India Private Limited
Hose Reel Drum ISI |  | 2200 | 2025-03-04 |  | Jagit India Private Limited
Hose Clip (JOLLY) |  | 11 | 2025-03-04 |  | Jagit India Private Limited
G Clamp 10mm |  | 52 | 2025-03-04 |  | Jagit India Private Limited
Chilly Support 50mm |  | 13 | 2025-02-20 |  | Jagit India Private Limited
Chilly Support 40mm |  | 12 | 2025-02-20 |  | Jagit India Private Limited
Chilly Support 32mm |  | 10 | 2025-02-20 |  | Jagit India Private Limited
Chilly Support 25mm |  | 9 | 2025-02-20 |  | Jagit India Private Limited
0.5KM Siren |  | 1800 | 2025-02-12 |  | Jagit India Private Limited
Conventional Hooter Cum Strobe Make - Agni |  | 450 | 2024-09-25 |  | Jagit India Private Limited
8 Zone Conventional Fire Alarm Panel Make - Agni |  | 4200 | 2024-07-20 |  | Jagit India Private Limited
100mm Dia Pressure Gauge Range - 0-16 bar Make - H-Guru |  | 475 | 2024-07-20 |  | Jagit India Private Limited
Glycerine filled die cast aluminium body & SS 316 bourden type pressure gauge of 100mm dia dial size & calibration 0-16 kg./sq.cm with accuracy of 1% of full scale ith necessary fittings like unions / collars / reducers, Make - H-Gurusiphon etc. |  | 1475 | 2024-05-23 |  | Jagit India Private Limited
Shut of valve for Hose reel |  | 68 | 2024-05-23 |  | Jagit India Private Limited
Pressure Switch Make - Danfoss |  | 881 | 2024-05-23 |  | Jagit India Private Limited
Non percolating flexible fire fighting two layered delivery hose, synthetic fiber circular woven jacketed, with EPDM synthetic rubber lined, 38kgf/cm 2 burst pressure, 23 kgf/cm 2 proof pressure, 15 kgf/cm 2 working pressure, bearing IS:636-2018 type 1 (Uncoated), 63 mm x 15 mtr. length duly SS wire bounded to fire hose coupling, SS 304, instantaneous type, pair of male and female parts, bearing IS:903 mark Make - Newage |  | 3000 | 2024-05-23 |  | Jagit India Private Limited
Addressable One Loop Fire Alarm Panel Make - GST | GST200N-1 | 36432 | 2024-05-23 |  | Jagit India Private Limited
Addressable Manual call point Make - GST | DI-9204E | 1976 | 2024-05-23 |  | Jagit India Private Limited
Conventional Hooter Make - Agni |  | 153 | 2024-05-23 |  | Jagit India Private Limited
MS ERW BK PIPE 150 MM C CLASS PE IS:1239 Make - Jindal |  | 1103.6 | 2025-03-12 |  | Jindal Industries Pvt Ltd
6MS ERW BK PIPE 100 MM C CLASS PE IS:1239 Make - Jindal |  | 753.3 | 2025-03-12 |  | Jindal Industries Pvt Ltd
MS ERW BK PIPE 80 MM C CLASS PE IS:1239 Make - Jindal |  | 513.2 | 2025-03-12 |  | Jindal Industries Pvt Ltd
Sabre 01-001 Smoke Detector Tester 150ml Flamabale |  | 2536 | 2024-09-30 |  | J K Fire
2 Core 1 Sqmm Flexible Cable Make: Polycab |  | 24.5 | 2025-01-20 |  | Kaushal Corporation
2 Core 1.5 Sq mm Armoured FRLS Multi Stranded Cable RED Color Make:- Polycab |  | 51 | 2025-05-13 |  | Kaushal Corporation
4 Core 1.5 Sq mm Armoured FRLS Multi Stranded Cable Black Color Make:- Polycab |  | 87 |  |  | Kaushal Corporation
CAT 6 Armoured Cable From IP Cameras to PoE Switch Including RJ45 Connectors at Both end Cable Make:- Polycab |  | 63 | 2025-04-29 |  | Kaushal Corporation
6C x 2.5 Sq.mm CU XLPE cable Make: Polycab |  | 178 | 2024-09-23 |  | Kaushal Corporation
3 Core 1.5 Sq mm Armoured FRLS Multi Stranded Cable Make: Polycab |  | 68 | 2024-09-23 |  | Kaushal Corporation
XLPE , FRLS, Armoured Aluminium / Copper cables 1100 V. grade with ISI mark of following size 3.5 c x 120 sqmm XLPE Insu. Alum Armd FRLSH Cable Make: Polycab |  | 478 | 2024-08-26 |  | Kaushal Corporation
XLPE , FRLS, Armoured Aluminium / Copper cables 1100 V. grade with ISI mark of following size 4 c x 10 sqmm XLPE Insu. Alum Armd FRLSH Cable Make: Polycab |  | 94 | 2024-08-26 |  | Kaushal Corporation
4 Core 1.5 Sq mm Flexible Cable Make:- Polycab |  | 56.65 | 2023-10-26 |  | Kaushal Corporation
CAT 6 Network Communication Cable Make: Polycab |  | 23 | 2025-02-15 |  | Kaushal Electro LLP
4+1 CCTV Cable Make: Polycab |  | 23.5 | 2023-12-20 |  | Kaushal Electro LLP
ISSR2LED-24 24V Sounder Strobe LED Flasher |  | 1570 | 2025-04-28 |  | LEAP INFO SYSTEMS PVT. LTD.
16CH DVR with 2 Sata HDD Make : Hikvision | IDS-7216HQHI-M2F1 | 11441 | 2023-10-05 |  | MALHAR ELECTRONICS & ELECTRICALS
SV35 2TB Video Surveillance HDD Make : Seagate |  | 4492 | 2023-10-05 |  | MALHAR ELECTRONICS & ELECTRICALS
16CH DVR with 2 Sata HDD Make : Hikvision | iDS-7216HQHI-M2/S | 10800 | 2023-04-19 |  | Max IT World
IR Dome Camear 3.6mm Fixed Lens Make : Hikvision | DS-2CE5AC0T-IRPF | 875 | 2023-05-17 |  | Max IT World
IR Bullet Camear 3.6mm Fixed Lens Make : Hikvision | DS-2CE1AC0T-IRPF | 1025 | 2023-05-17 |  | Max IT World
SV35 8TB Video Surveillance HDD Make : Seagate |  | 15900 | 2025-04-05 |  | Max IT World
SV35 6TB Video Surveillance HDD Make : Seagate |  | 11100 | 2024-08-27 |  | Max IT World
SV35 4TB Video Surveillance HDD Make : Seagate |  | 6900 | 2025-04-05 |  | Max IT World
SV35 2TB Video Surveillance HDD Make : Seagate |  | 4000 | 2025-04-05 |  | Max IT World
SV35 1TB Video Surveillance HDD Make : Seagate |  | 3100 | 2023-12-16 |  | Max IT World
4" X 4" Plastic Junction Box for Camera |  | 20 | 2023-05-02 |  | Max IT World
1 KVA UPS Make : Microtek |  | 4350 | 2025-04-05 |  | Max IT World
600V UPS Make : Microtek |  | 2150 | 2024-08-06 |  | Max IT World
3U Rack for NVR |  | 1200 | 2023-04-29 |  | Max IT World
4 Port PoE Switch Make : CP-Plus | GPU4G2-48-V3 | 2550 | 2023-04-29 |  | Max IT World
22" Monitor with HDMI Cable Make : LG |  | 5042 | 2025-04-05 |  | Max IT World
Wall Mount Stand for Monitor |  | 150 | 2025-04-05 |  | Max IT World
VGA Cable 5Mtr. |  | 350 | 2023-05-16 |  | Max IT World
5" X 5" Plastic Junction Box for Camera |  | 25 | 2025-03-10 |  | Max IT World
SV35 10TB Video Surveillance HDD Make : Seagate |  | 18850 | 2025-01-21 |  | Max IT World
IR Dome Camera 2.8mm Fixed Lens Make : Hikvision | DS-2CE76D0T-ITPFS | 775 | 2024-11-08 |  | Max IT World
IR Bullet Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE5AD0T-IRP | 825 | 2024-11-08 |  | Max IT World
5Mtr HDMI Cable Make : MX |  | 350 | 2024-10-22 |  | Max IT World
IR Bullet Camera 3.6mm Fixed Lens Make : CP Plus | CP URC TC24PL2 | 775 | 2024-10-22 |  | Max IT World
1TB External Portable HDD |  | 4300 | 2024-09-12 |  | Max IT World
18.5" Monitor with HDMI Cable Make : LG |  | 4800 | 2024-08-06 |  | Max IT World
IR Bullet Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE1ADOT-ITP/ECO | 825 | 2024-07-30 |  | Max IT World
3 Mtrs HDMI Cable Make - MX |  | 250 | 2024-04-17 |  | Max IT World
10 Mtr. USB Cable Make - MX |  | 600 | 2024-05-07 |  | Max IT World
8 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make : Hikvision | DS-3E0310P-E/M | 2950 | 2024-03-05 |  | Max IT World
Inspiron 5430 Platinum Silver i5-1335U 13th Gen 16gb DDR5 512GB SSD M.2 NVME Integrated Win 11 Home /MS Office 2021 14" FHD WVA AG Narrow Border Fingerprint Reade 1 Yr NBD Backlit Keyboard With Bag | IN54308TR2G001ORS1 | 56780 | 2024-02-17 |  | Max IT World
HP Laptop Battery HP 240 G5 OG |  | 1950 | 2024-01-24 |  | Max IT World
Dell XPS Battery |  | 2750 | 2023-12-19 |  | Max IT World
HP Laptop 15s, 12th Gen Intel Core i3-1215U, 15.6inch (39.6 cm), FHD, 8GB DDR4, 512GB SSD, Intel UHD Graphics, Backlit KB, Thin & Light, Dual Speakers (Win 11, MSO 2021, Silver, 1.69 kg), fq5007TU with Bag Make : HP |  | 32000 | 2023-12-30 |  | Max IT World
Mic for CCTV Camera |  | 150 | 2023-12-04 |  | Max IT World
Milestone 401 HDMI Switcher 4 HDMI Inputs & 1 HDMI Output. Make : Milestone | ML-401 HDMI | 5500 | 2025-04-29 |  | Milestone Electronic Pvt. Ltd.
12VDC~5AMP DVR Power Adapter 4 Pin Make : MRE |  | 875 | 2024-09-24 |  | M R Electronics
Single Door Hose Box Make - Newage |  | 1300 | 2024-09-11 |  | M Tech Fire Services
Double Door Hose Box Make - Newage |  | 2500 | 2024-09-11 |  | M Tech Fire Services
Single Head Fire Hydrant Hose Lock |  | 450 | 2023-05-03 |  | M Tech Fire Services
Rubber Gasket |  | 70 | 2023-05-03 |  | M Tech Fire Services
1” Hose Reel Nozzle |  | 430 | 2023-05-03 |  | M Tech Fire Services
Inlet Breeching 4 Way |  | 6500 | 2023-05-03 |  | M Tech Fire Services
Valve Cap with Chain |  | 75 | 2023-05-03 |  | M Tech Fire Services
15Mtrs RRL Hose Pipe (Canvas Hose Pipe) Make - Newage |  | 2600 | 2024-12-18 |  | M Tech Fire Services
SS Branch Pipe Nozzle with Accessories Make - Newage |  | 850 | 2024-12-18 |  | M Tech Fire Services
1 No.of 30m long Reinforced PVC lined fire hose confirming to IS standards with stainless steel couplings as per IS: 903. |  | 1600 | 2024-06-12 |  | M Tech Fire Services
Hose Reel Drum without Pipe with Accessories |  | 2200 | 2024-04-08 |  | M Tech Fire Services
Wall mounting swinging Hose reel drum fitted with 19 mm dia. 30m long high pressure polypropylene (Polyhose) fitted with necessary accessories Make - Newage |  | 4500 | 2024-04-23 |  | Newage Fire Protection Ind. Pvt. Ltd.
Reinforced rubber lined (R.R.L.) hose pipe, 63mm dia, 15m in length, fitted with necessary accessories Make - Newage |  | 3100 | 2023-05-11 |  | Newage Fire Protection Ind. Pvt. Ltd.
Stainless steel branch pipe 63 mm dia fitted with 20 mm dia detachable hexagonal nozzle Make - Newage |  | 1350 | 2023-05-11 |  | Newage Fire Protection Ind. Pvt. Ltd.
Single Hose Box Make - Newage |  | 3000 | 2023-05-11 |  | Newage Fire Protection Ind. Pvt. Ltd.
Stainless steel single outlet hydrant Each valve fitted with necessary accessories Make - Newage |  | 4250 | 2023-05-11 |  | Newage Fire Protection Ind. Pvt. Ltd.
"Newage" Sprinkler Head, Standard Response, 68 Deg Operating Temperature, Pendent Type, K-5.6 (80), 1/2" NPT Thread, Standard Coverage, Chrome Plated, UL Listed. Pendent Type Sprinkler |  | 149 | 2025-03-04 |  | Newage Fire Protection Ind. Pvt. Ltd.
Fire brigade header of 150 mm dia, for supplying water in fire tank complete Make - Newage |  | 7800 | 2024-08-30 |  | Newage Fire Protection Ind. Pvt. Ltd.
Fire brigade header (Siamese connection) of 150 mm dia for supplying water to wet riser system complete Make - Newage |  | 7800 | 2024-08-30 |  | Newage Fire Protection Ind. Pvt. Ltd.
Flexible sprinkler branch pipe 15 n.b 1.5m in length Make - Newage |  | 565 | 2024-08-21 |  | Newage Fire Protection Ind. Pvt. Ltd.
Stainless Steel Rosette Plate Make - Newage |  | 50 | 2024-07-10 |  | Newage Fire Protection Ind. Pvt. Ltd.
Flexible sprinkler branch pipe 15 n.b 1m in length Make - Newage |  | 478 | 2024-04-15 |  | Newage Fire Protection Ind. Pvt. Ltd.
Stainless Steel Double Headed Hydrant Valve Make - Newage |  | 7800 | 2024-03-22 |  | Newage Fire Protection Ind. Pvt. Ltd.
Fire fighting reinforced rubber lined (R.R.L.) hose pipe, 63mm dia, 15m in length Make - Newage |  | 2850 | 2024-03-08 |  | Newage Fire Protection Ind. Pvt. Ltd.
Fire Hydrant Valve, Single Outlet, SS-304, 63 mm female inst. oblique type, 80 mm NB flange Inlet., 200 mm OD, 160 mm PCD, 4 holes of 19 mm, complete with C.I wheel, ABS Blank cap and G.I Chain, Bearing IS:5290 mark, Painted red. Make - Newage |  | 4000 | 2024-01-23 |  | Newage Fire Protection Ind. Pvt. Ltd.
Fire Hose Cabinet wall mounting type 18 swg mild steel construction transparent double door with SS hinges panel lock break glass recesses key box lower opening to accommodate 2 Nos of fire hose fitted with coupling of 15/ 7.5 mtr length 1 No branch pipe with nozzle spanners Size - 30" X 24 X 10 Finish Red outside inside Make - Newage |  | 3650 | 2024-01-23 |  | Newage Fire Protection Ind. Pvt. Ltd.
NEWAGE PREMIER brand, non percolating flexible fire fighting two layered delivery hose, synthetic fiber circular woven jacketed, with EPDM synthetic rubber lined, 38 kgf/cm 2 burst pressure, 23 kgf/cm 2 proof pressure, 15 kgf/cm 2 working pressure, bearing IS:636-2018 type 1 (Uncoated), 63 mm x 15 mtr. length duly SS wire bounded to fire hose coupling, SS 304, instantaneous type, pair of male and female parts, bearing IS:903 mark. Make - Newage |  | 3000 | 2024-01-23 |  | Newage Fire Protection Ind. Pvt. Ltd.
Branchpipe, short, Stainless Steel 304, 63mm male inst. inlet, Fitted with male threaded outlet,20 mm bore nozzle, bearing IS:903 mark Make - Newage |  | 1300 | 2024-01-23 |  | Newage Fire Protection Ind. Pvt. Ltd.
Cast iron 2 way fire brigade breach inlet valve IS Marked |  | 2800 | 2023-10-23 |  | New Bharat Fire Protection System Pvt.Ltd
12VDC~12.5AMP Power Supply Make:-Meanwell | LRS-150-12 | 1100 | 2025-04-19 |  | NM Automation & Control Pvt Ltd.
24VDC~14AMP Power Supply Make:-Meanwell | LRS-350-24 | 1650 | 2025-04-05 |  | NM Automation & Control Pvt Ltd.
12VDC~4.5AMP Power Supply Make:-Meanwell | LRS-50-12 | 650 | 2025-03-05 |  | NM Automation & Control Pvt Ltd.
12V DC / 10.2Amps – 135Watts Din Rail Mounting Make:-Meanwell | HDR-150-12 | 2375 | 2024-09-13 |  | NM Automation & Control Pvt Ltd.
24VDC~4.5AMP Power Supply Make:-Meanwell | LRS-100-24 | 800 | 2024-04-11 |  | NM Automation & Control Pvt Ltd.
12VDC~8.4AMP Power Supply Make:-Meanwell | LRS-100-12 | 825 | 2024-03-13 |  | NM Automation & Control Pvt Ltd.
110VDC~5VDC, 6AMP Convertor Make:-Meanwell |  | 2200 | 2024-01-31 |  | NM Automation & Control Pvt Ltd.
12VDC~1.3AMP Power Supply Make:-Meanwell | RS-15-12 | 475 | 2023-12-16 |  | NM Automation & Control Pvt Ltd.
24VDC~3AMP Power Supply SMPS Make:-Meanwell | LRS-75-24 | 775 | 2023-12-19 |  | NM Automation & Control Pvt Ltd.
CONTROLLER M241-40IO Tr.NPN Ethernet | TM241CE40U | 31350 | 2023-10-18 |  | NM Automation & Control Pvt Ltd.
HYDROSTATIC LEVEL TRANSMITTER (NI-HLT-S-C-F-4MTR) |  | 5545 | 2023-11-16 |  | Nishka Instruments
Forged Brass Ball Valve 25mm Dia Make - Leader |  | 582 | 2024-06-12 |  | Panalal Mohanlal & Co.
FLP Hooter 24VDC Sound 100 Db Pulsating(Conventional Type) CIMFR Approved for Zone IIA, IIB Make : Pragati |  | 3441.75 | 2025-01-09 |  | Pragati Electronics
FLP Hooter with Flasher 24VDC Sound 100 Db Pulsating (Conventional Type) CIMFR Approved for Zone IIA, IIB Make : Pragati |  | 3705 | 2025-01-09 |  | Pragati Electronics
16CH NVR without PoE Make - Hikvision | DS-7616NI-Q2 | 6050 | 2025-04-05 |  | PRAMA HIKVISION INDIA PVT. LTD.
IP Dome 2.8mm Fixed Lens Camera Make - Hikvision | DS-2CD3321G2E-I | 1950 | 2025-04-05 |  | PRAMA HIKVISION INDIA PVT. LTD.
IP Bullet Vari-Focal Camera 2.8mm~12mm Make - Hikvision | DS-2CD3621G2-IZS | 4350 | 2025-04-05 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IP Bullet Camera 4mm Fixed Lens Make - Hikvision | DS-2CD3021G2E-I | 1900 | 2025-04-05 |  | PRAMA HIKVISION INDIA PVT. LTD.
32CH NVR without PoE Make - Hikvision | DS-9632NI-M16/R | 85000 | 2025-04-02 |  | PRAMA HIKVISION INDIA PVT. LTD.
2 Megapixel IP Dome Camera 4mm Fixed Lens Make - Hikvision | DS-2CD3121G2E-I | 1800 | 2025-04-02 |  | PRAMA HIKVISION INDIA PVT. LTD.
4 TB HDD Make: Seagate |  | 6875 | 2025-04-02 |  | PRAMA HIKVISION INDIA PVT. LTD.
16 Port Giga PoE Switch Make - Hikvision | DS-3E0318P-E/M | 6800 | 2025-03-08 |  | PRAMA HIKVISION INDIA PVT. LTD.
24 Port PoE Gigabit Network Switch Make - Hikvision | DS-3E0526P-E/M | 11250 | 2025-03-08 |  | PRAMA HIKVISION INDIA PVT. LTD.
8 Port Giga PoE Switch Make - Hikvision | DS-3E0510P-E/M | 3250 | 2025-02-12 |  | PRAMA HIKVISION INDIA PVT. LTD.
16CH NVR with PoE Make - Hikvision | DS-7616NI-Q2/16P | 13000 | 2025-01-16 |  | PRAMA HIKVISION INDIA PVT. LTD.
8CH NVR without PoE with 2 SATA HDD Make - Prama | PT-NR2A08-Q2 | 4300 | 2024-10-22 |  | PRAMA HIKVISION INDIA PVT. LTD.
16CH NVR without PoE Make - Hikvision | DS-7616NXI-K2 | 6050 | 2024-10-28 |  | PRAMA HIKVISION INDIA PVT. LTD.
6MP IP Varifocal Bullet Camera - 2.7-13.5mm Make - Hikvision | DS-2CD3661G2-LIZSU | 7560 | 2024-10-08 |  | PRAMA HIKVISION INDIA PVT. LTD.
24 Port Giga PoE Switch Make - Hikvision | DS-3E1526P-EI/M | 11250 | 2024-10-22 |  | PRAMA HIKVISION INDIA PVT. LTD.
4 Port Giga PoE Switch Make - Hikvision | DS-3E1505P-E/M | 1950 | 2024-10-22 |  | PRAMA HIKVISION INDIA PVT. LTD.
16 Port Giga PoE Switch Make - Hikvision | DS-3E1318P-EI/M | 6800 | 2024-10-18 |  | PRAMA HIKVISION INDIA PVT. LTD.
8 Port Giga PoE Switch Make - Hikvision | DS-3E1510P-E/M | 3250 | 2024-10-09 |  | PRAMA HIKVISION INDIA PVT. LTD.
8CH NVR without PoE Make - Hikvision | DS-7608NI-Q2 | 4300 | 2024-08-27 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IP Dome Camera 4mm Fixed Lens Make - Hikvision | DS-2CD3121G2E-I | 1950 | 2024-08-27 |  | PRAMA HIKVISION INDIA PVT. LTD.
64CH NVR without PoE Make - Hikvision | DS-8664NXI-I8/S | 43500 | 2024-07-25 |  | PRAMA HIKVISION INDIA PVT. LTD.
IP Dome 4mm Fixed Lens Camera Make - Hikvision | DS-2CD3121G0-I | 1950 | 2024-07-25 |  | PRAMA HIKVISION INDIA PVT. LTD.
16 Port PoE Switch Make - Hikvision | DS-3E0518P-E/M | 8900 | 2024-07-25 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IR Bullet Vari-Focal Camera 2.8mm~12mm Lens Make - Hikvision | DS-2CE19D0T-VFIT3F | 2200 | 2024-02-21 |  | PRAMA HIKVISION INDIA PVT. LTD.
Analog Video Intercom KIT Make: Hikvision | DS-KIS202T | 4100 | 2024-02-05 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IR Bullet Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE16D0T-ITPFS | 928 | 2023-12-19 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IR Bullet Vari-Focal Camera 2.8mm~12mm Lens Make - Hikvision | DS-2CE19D0T-VFIT3F | 2200 | 2023-12-16 |  | PRAMA HIKVISION INDIA PVT. LTD.
2MP IR Dome Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE5AD0T-ITPFS | 880 | 2023-12-16 |  | PRAMA HIKVISION INDIA PVT. LTD.
PLUTO Make FLP/WP Junction Box without cable gland • Size : 150 x 150mm • Zone 1 & 2, Gas Group IIA & IIB only. • IS/IEC 60079-1 : 2007 • Protection : IP-65 • MOC : Aluminum Alloy LM-6 • Mounting : Wall Mounting • Finish : Light Grey Powder Coated • Earthing: 2 Nos. External & 1 No. Internal • Gasket : Rubber Neoprene • Cable Entry: As per your requirement • Certified by CIMFR – Dhanbad • Cat. No. PFC/JB/18 |  | 1500 | 2025-01-09 |  | Pluto Flameproof Controls
PLUTO Make FLP/WP Junction Box without cable gland • Size : 200 x 200mm • Zone 1 & 2, Gas Group IIA & IIB only. • IS/IEC 60079-1 : 2007 • Protection : IP-65 • MOC : Aluminium Alloy LM-6 • Mounting : Wall Mounting • Finish : Light Grey Powder Coated • Earthing: 2 Nos. External & 1 No. Internal • Gasket : Rubber Neoprene • Cable Entry: As per your requirement • Certified by CIMFR – Dhanbad • Cat. No. PFC/JB/16 |  | 2300 | 2025-01-09 |  | Pluto Flameproof Controls
PLUTO Make FLP / WP MANUAL CALL POINT BREAKING GLASS (INDIRECT ENTRY) without cable gland .• Zone 1 & 2, Gas Group IIB only. • IS / IEC 60079‐1:2007 • Protection : IP‐65 • MOC : Aluminum Alloy LM‐6 • Mounting : Wall Mounting • Finish : Light Grey Powder Coated • Earthing: 2 Nos. External & 1 No. Internal • Gasket : Rubber Neoprene • Cable Entry: 3⁄4” E.T. 2 Nos. at Bottom • Rating :10 A 415 V AC 50 Hz250V AC • CONTACT ELEMENT 1NO+1NC 1 NO • ALARM PUSH BUTTON 1 NO • HAMMER 1 NO • FINISH POST OFFICE RED EPOXY SHADE 538 AS • PER IS:5 • Certified by CIMFR – Dhanbad • Cat. No. PFC/FA/09 |  | 1800 | 2025-01-09 |  | Pluto Flameproof Controls
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 4" 100mm NB Galvd Heavy P/E |  | 941 | 2024-08-17 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 21/2" 65mm NB Galvd Heavy P/E |  | 512 | 2025-01-17 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 1.5" 40mm NB Galvd Heavy P/E |  | 297 | 2025-01-17 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 1" 25mm NB Galvd Heavy P/E |  | 207 | 2025-01-17 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 6" 150mm NB Galvd Heavy P/E |  | 1352 | 2024-12-16 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 3" 80mm NB Galvd Heavy P/E |  | 601 | 2024-12-16 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 2" 50mm NB Galvd Heavy P/E |  | 421 | 2024-08-26 |  | Popular Enterprise
M.S. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 18" 450mm NB |  | 9891 | 2024-06-13 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 11/4" 32mm NB Galvd Heavy P/E |  | 272 | 2024-06-20 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 8" 200mm NB Galvd Heavy P/E 6mm Thik |  | 2358 | 2024-03-01 |  | Popular Enterprise
G.I. pipe above ground of „C‟ class ERW with necessary fittings complete Make - Jindal 11/2" 40mm NB Galvd Heavy P/E |  | 304 | 2024-01-30 |  | Popular Enterprise
2.5 Sq. mm X 2 Core XLPE Insulated, PVC Sheathed Multistrand CU. Armoured FRLS Cable Make: Polycab |  | 70.47 | 2023-12-15 |  | Powertech Distributors Pvt. Ltd.
1.5 Sq. mm X 2 Core XLPE Insulated, PVC Sheathed Multistrand CU. Armoured FRLS Cable Make: Polycab |  | 52 | 2023-12-15 |  | Powertech Distributors Pvt. Ltd.
2.5 Sq. mm X 2 Core XLPE Insulated, PVC Sheathed Multistrand CU. Armoured FRLS Cable Make: Polycab |  | 70.47 | 2024-01-15 |  | POWERTECH ELECTRICALS
1.5 Sq. mm X 2 Core XLPE Insulated, PVC Sheathed Multistrand CU. Armoured FRLS Cable Make: Polycab |  | 51.33 | 2024-01-15 |  | POWERTECH ELECTRICALS
2 Core 1.5 Sq mm Armoured FRLS Multi Stranded Cable RED Color Make: Polycab |  | 52 | 2023-12-15 |  | POWERTECH ELECTRICALS
4U Rack with all accessories Make : Valrack |  | 3200 | 2023-05-02 |  | Pushp Enterprises
Digital Linear Heat DETECTOR (68 Deg C)-System Sensor UL/ FM Approved | SS-LD-68-155-100 | 217 | 2023-05-09 |  | PV Lumens LLP
DXc1 Addressable Single Loop Fire Alarm Panel Make : Morley | 714001115 | 49000 | 2025-03-01 |  | PV Lumens LLP
Addressable Smoke Detector with Base Make : Morley | HM/PSE/AP+B501 | 1346 | 2025-01-04 |  | PV Lumens LLP
Addressable Manual Call Point with Back BOX Make : Morley | HM-MCP-GLASS + Back Box | 2450 | 2025-01-04 |  | PV Lumens LLP
Addressable Monitor Module Make : Morley | MI/DMMIE | 2250 | 2025-01-04 |  | PV Lumens LLP
Addressable Hooter with Base Make : Morley | WSO/PR/N05+ B501 | 3350 | 2025-01-04 |  | PV Lumens LLP
Addressable Relay Module Make : Morley | MI/DCMO | 2451 | 2025-01-04 |  | PV Lumens LLP
Addressable Isolator Module Make : Morley | MI/DISO | 2150 | 2025-01-04 |  | PV Lumens LLP
Loop Card Make : Notifier | LCM320 | 33810 | 2025-01-03 |  | PV Lumens LLP
Addressable Smoke Detector with Base Make : Notifier | FSP/951+B501 | 2058 | 2025-01-03 |  | PV Lumens LLP
Addressable Multi Sensor Detector with Base Make : Notifier | FSP/951T+B501 | 2156 | 2025-01-03 |  | PV Lumens LLP
Addressable Heat Detector with Base Make : Notifier | FST/951R+B501 | 1936 | 2025-01-03 |  | PV Lumens LLP
Addressable Manual Call Point Make : Notifier | NBG-12LX | 4214 | 2025-01-03 |  | PV Lumens LLP
Addressable Mini Monitor Module Make : Notifier | FMM101 | 2058 | 2025-01-03 |  | PV Lumens LLP
Conventional Hooter cum strobe Make : System Sensor | SYS-HS | 2156 | 2025-01-03 |  | PV Lumens LLP
Addressable Control Module Make : Notifier | FCM/1 | 2793 | 2025-01-03 |  | PV Lumens LLP
Addressable Relay Module Make : Notifier | FRM/1 | 2793 | 2025-01-03 |  | PV Lumens LLP
Addressable Fault Isolator Module Make : Notifier | ISO-X | 2279 | 2025-01-03 |  | PV Lumens LLP
Addressable Monitor Module Make : Notifier | FMM-1 | 2352 | 2025-01-03 |  | PV Lumens LLP
VOLUME CONTROL UNIT, 12W with concealed Junction Box Make: Bosch | LM1-VC12P-IN | 949 | 2024-08-27 |  | PV Lumens LLP
Single Loop Card for GST200N-1 Fire Alarm Panel Make: GST | LC200 | 13500 | 2024-06-26 |  | PV Lumens LLP
Glycerine filled die cast aluminium body & SS316 bourden type pressure gauge of 150mm dia dial size & calibration 0-16kg./sq.cm with accuracy of 1% of full scale with siphon Pipe Make: WIKA |  | 4617.5 | 2023-12-06 |  | Rudra impex corporation
Glycerine filled die cast aluminium body & SS 316 bourden type pressure gauge of 100mm dia dial size & calibration 0-16 kg./sq.cm with accuracy of 1% of full scale ith necessary fittings like unions / collars / reducers, siphon etc Make: WIKA |  | 2786 | 2023-10-16 |  | Rudra impex corporation
Pressure Switch Range: 6-15 bar Make: WIKA | PSM-520-200 | 1071 | 2023-10-16 |  | Rudra impex corporation
6 kg ABC (40% Map) Store Pressure - F/ext. Complete with All Accessories Make - Safepro |  | 950 | 2025-03-12 |  | Safepro Fire Services Pvt. Ltd.
Carbon Dioxide 6.5 Kg Complete with All Accessories Make - Safepro |  | 4800 | 2025-03-12 |  | Safepro Fire Services Pvt. Ltd.
10 kg Clean Agent Modular Type Fire Extinguisher |  | 11000 | 2025-01-09 |  | SafeTech Engineering
Refilling Charges of ABC Type 9KG Fire Extinguisher |  | 500 | 2024-05-02 |  | SafeTech Engineering
Refilling Charges of ABC Type 2KG Fire Extinguisher |  | 350 | 2024-03-21 |  | SafeTech Engineering
Refilling Charges of ABC Type 4KG Fire Extinguisher |  | 450 | 2024-03-21 |  | SafeTech Engineering
Refilling Charges of Co2 Type 2KG Fire Extinguisher |  | 700 | 2024-03-21 |  | SafeTech Engineering
Refilling Charges of Co2 Type 4.5KG Fire Extinguisher |  | 950 | 2024-03-21 |  | SafeTech Engineering
ABC Type 6KG Fire Extinguisher |  | 1500 | 2023-10-23 |  | SafeTech Engineering
ABC Type 4KG Fire Extinguisher |  | 1200 | 2023-10-23 |  | SafeTech Engineering
ABC 6 Kg Fire Extinguisher Make: SAFEX |  | 1450 | 2025-03-24 |  | Safex Fire Services Ltd
ABC 9 Kg Fire Extinguisher Make: SAFEX |  | 1800 | 2025-03-24 |  | Safex Fire Services Ltd
CO2 4.5 Kg Fire Extinguisher Make: SAFEX |  | 3750 | 2025-03-24 |  | Safex Fire Services Ltd
Mechanical Foam 9 Ltr Fire Extinguisher Make: SAFEX |  | 1400 | 2025-03-24 |  | Safex Fire Services Ltd
DCP (ABC) Cartridge Type 4 Kgs Fire Extinguisher Make: SAFEX |  | 2150 | 2025-03-24 |  | Safex Fire Services Ltd
Single door hose box Make: SAFEX |  | 1400 | 2025-03-24 |  | Safex Fire Services Ltd
DCP (ABC) Stored Pressure Type 4 Kgs Fire Extinguisher SAFEX MAKE |  | 1250 | 2025-05-06 |  | Safex Fire Services Ltd
Double door hose box Make - Safex |  | 3000 | 2025-05-06 |  | Safex Fire Services Ltd
Modus TCP to BACNET IP Converters Make : San Telequip | GW BMS 05A | 20500 | 2023-10-04 |  | San Telequip Pvt Ltd
4 Zone Panel with 4G SIM Make : Securico | SEC GX 4016 GSM A7 | 12540 | 2024-09-09 |  | SECURICO ELECTRONICS INDIA LIMITED
2MP IP Bullet Camera 4mm Fixed Lens Make - Hikvision | DS-2CD1023G0E-I | 1800 | 2025-03-26 |  | Securitykart
4CH DVR with 1 Sata HDD Port Make - Hikvision | iDS-7204HQHI-M1/S | 3150 | 2025-03-19 |  | Securitykart
16CH DVR with 2 Sata HDD Port | iDS-7216HQHI-M2/FA | 11430 | 2025-03-04 |  | Securitykart
8 Poort PoE Switch Make : Godrej | ST-POE-8P2U | 1450 | 2025-02-13 |  | Securitykart
16CH NVR without PoE Make - Hikvision | DS-7616NI-Q2 | 6270 | 2024-08-13 |  | Securitykart
2MP IP Dome Camera 2.8mm Fixed Lens Make : Godrej | STI-FD20IR4P-1080PA | 1750 | 2024-07-12 |  | Securitykart
2MP IP Dome Camera 2.8mm Fixed Lens Plastic Body Make : Hikvision | DS-2CD1323G0E-I | 1615 | 2024-07-19 |  | Securitykart
IP Bullet Camera 6mm Fixed Lens Make : Godrej | STI-FB20IR6P | 2700 | 2024-03-14 |  | Securitykart
IP Bullet Vari-Focal Camera Make : Godrej | STI-VFB50IRM | 5350 | 2024-03-14 |  | Securitykart
TECHNOCAB 2+1+1 Flat Cable for Lift |  | 45 | 2024-03-27 |  | SHREE ELECTRONICS
TECHNOCAB Cat 6 Flat Elevator Cable |  | 38 | 2024-03-11 |  | SHREE ELECTRONICS
65" Samsung LED Display with 03 Year’s complete onsite warranty | HG65 BU800 | 53500 | 2024-08-01 |  | Shreem InfoTech
Advanced 2 Door/4 Reader Access Controller Board Make : Spectra | TwinXs2C | 8400 | 2024-09-12 |  | Spectra Technovision (India) Pvt. Ltd.
Access Panel Enclosure, MS Powder Coated with 6.0A UL approved SMPS Make : Spectra | XS-ENCL-2 | 3200 | 2024-09-12 |  | Spectra Technovision (India) Pvt. Ltd.
Fingerprint Access Controller/EM reader/9000 templates Make : Spectra | BST-2R-P | 14000 | 2024-09-03 |  | Spectra Technovision (India) Pvt. Ltd.
125KHz Proximity Access Card Reader W/O tamper Switch and RS232 Make : Spectra | XP-P1 | 1500 | 2024-08-26 |  | Spectra Technovision (India) Pvt. Ltd.
Fingerprint attendance recorder/EM reader/9000 templates Make : Spectra | BSC-2C-P-4M | 17500 | 2024-03-02 |  | Spectra Technovision (India) Pvt. Ltd.
4 Zone Water Leak Detection cum Zone Annunciation Panel. The Panel shall provide AC output to the Water Leak Cable. complete with power supply units for Hooter and required mounting accessories Make: Jay | JE3523 | 8300 | 2025-04-19 |  | Synopsys Tech Pvt Ltd
4 Wire quick dry addressable type Water Leak Sensing cable with 3 mtrs leader cable and end connections.Water leak sensing cable twisted mechanically strong, resistant to corrosion and abrasion. The cable shall be constructed with two sensing wires, an alarm signaling wire and an continuity wire. |  | 370 | 2025-04-19 |  | Synopsys Tech Pvt Ltd
4 Core x 22 SWG Armoured Cable to interconnect between Water Leak Sensing cable, panel Beldon 8723 |  | 149 | 2025-04-19 |  | Synopsys Tech Pvt Ltd
WLD Cable |  | 370 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
Hooter cum strobe Red / Orange color only |  | 1140 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
Microprocessor based Master Controller Console with LCD DISPLAY.The Master Console shall be able to connect to 20 Satellites per console in a single loop Make: R-Scat | LCD24 | 8100 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
Transducer Satellite Stations capable of Emitting Ultrasonic sound of frequencies 20 Khz and higher, with blinking LED Indication & shall capable to covering area of 500 Sq.ft. complete with required mounting accessories Make: R-Scat |  | 610 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
Stand & bracket |  | 500 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
2 core 14 / 40 SWG specially quoted CT Cables bundle for connecting the transducers with the controller |  | 13 | 2025-03-29 |  | Synopsys Tech Pvt Ltd
Signage for CCTV Surveillance (SIZE 8"X8") |  | 160 | 2024-03-29 |  | Supreme Creation
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 25mm (Heavy) P/E |  | 172 | 2024-06-11 |  | Taher Brohers
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 32mm (Heavy) P/E |  | 215 | 2024-06-11 |  | Taher Brohers
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 50mm (Heavy) P/E |  | 345 | 2024-06-11 |  | Taher Brohers
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 80mm (Heavy) P/E |  | 553 | 2024-06-11 |  | Taher Brohers
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 100mm (Heavy) P/E |  | 820 | 2024-06-11 |  | Taher Brohers
Mild Steel (M.S)" ERW pipes confirming to IS: 1239 part- 1, heavy grade "C" class pipes for sizes upto 150NB & MS pipes confirming to IS: 3589 Gr. Fe 330 with a minimum wall thickness of 6.35mm for sizes 200 NB & above Make: Jindal M.S Black Jindal Pipe 65mm (Heavy) P/E |  | 480 | 2023-12-06 |  | Taher Brohers
Gate valves complete with fittings of screwed end type complete 100mm nominal dia Make - Zoloto |  | 16361 | 2023-12-06 |  | Taher Brohers
Remote Keypad for Solitare 8 Zone Panel Make : Securico | SEISECR08S | 3990 | 2023-04-03 |  | TerminalX Global Technologies Pvt. Ltd.
SOLITAIRE 8 - 8 Zone Control Panel Inbuilt 2 Message 30 Number Speech Dialer, Home Automation System with 4 Relay Control, Automatic Arming & Disarming, Remote Access through Telephone, Separate LCD Remote Key Pad (One 16X2 LCD remote keypad included). Make:- Securico | SEC08S | 11300 | 2023-04-13 |  | TerminalX Global Technologies Pvt. Ltd.
16Port PoE Unmanaged Switch with 2 Uplink Make: Dahua | PFS3218-16ET-135 | 8000 | 2023-04-15 |  | Total Security Solution
2MP IP Dome Camera, 3.6mm Fixed Lens Make: Dahua | DH-IPC-HDW1230T1P-S4 | 1900 | 2023-11-08 |  | Total Security Solution
4CH NVR with 1 SATA HDD without PoE Make: Dahua | DHI-NVR1104HS-S3/H | 2625 | 2023-04-29 |  | Total Security Solution
16CH NVR with 2 SATA HDD without PoE Make : Dahua | DHI-NVR4216-4KS2L | 6050 | 2023-11-08 |  | Total Security Solution
2MP IR Bullet Vari-Focal Camera 2.8mm~12mm Make : Dahua | DH-IPC-HFW1230T1P-ZS-S4 | 4300 | 2023-11-08 |  | Total Security Solution
2MP IP Bullet Camera, 3.6mm Fixed Lens Make: Dahua | IPC-HFW1230S1P-S4 | 1950 | 2023-11-08 |  | Total Security Solution
16 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make: Dahua | DH-PFS3218-16GT-135 | 8170 | 2023-11-08 |  | Total Security Solution
SV35 8TB Video Surveillance HDD Make : Seagate |  | 14850 | 2023-09-27 |  | Total Security Solution
SV35 2TB Video Surveillance HDD Make : Seagate |  | 3950 | 2023-09-27 |  | Total Security Solution
1.25G, 1310, 20KM SMF DDM Make.: Tricom | TRI3124-L2DC | 450 | 2024-07-31 |  | Triflex International
Cast Iron Butterfly Valve IS Marked 100mm dia MAKE: SANT |  | 2669 | 2023-10-18 |  | UBRIJ SYSTEMS
Cast Iron Butterfly Valve IS Marked 150mm dia MAKE: SANT |  | 3939 | 2023-10-18 |  | UBRIJ SYSTEMS
Cast Iron Dual Plate Non Return Valve IS Marked 80mm dia MAKE: SANT |  | 2732 | 2023-10-18 |  | UBRIJ SYSTEMS
Brass, Gate valve, as per IS:14846, with P.N 1.6 50 NB MAKE: SANT |  | 3824 | 2023-10-18 |  | UBRIJ SYSTEMS
Forged brass screwed ends full bore ball valves (PN 16) 25mm nominal dia MAKE: SANT |  | 555 | 2023-10-18 |  | UBRIJ SYSTEMS
Bellow of 6 inch dia, and 6 & 1/2 length flange to flange, 8 Hole |  | 6786 | 2023-05-09 |  | UNIVERSAL TRADING
SS Flexible Expansion Bellows with 8 Hole lenght 200mm and 200mm standard m.s flanges Working Pressure 10 kg Testing Pressure 16 kg. 150mm |  | 7830 | 2024-03-19 |  | UNIVERSAL TRADING
SS Flexible Expansion Bellows with 8 Hole lenght 200mm and 200mm standard m.s flanges Working Pressure 10 kg Testing Pressure 16 kg. 80mm |  | 5590 | 2024-03-19 |  | UNIVERSAL TRADING
2MP IP Bullet Vari-Focal Camera 12mm~2.8mm Lens Make : Uniview | IPC2322LB-ADF | 6000 | 2024-04-17 |  | Uniview Technology (I) Pvt Ltd
2MP IP Dome Camera 2.8MM Fixed Lens Make : Uniview | IPC3612LB-SF28-A | 2200 | 2023-04-12 |  | Uniview Technology (I) Pvt Ltd
16CH NVR with 4 Sata HDD Make : Uniview | NVR304-16S | 15000 | 2024-08-17 |  | Uniview Technology (I) Pvt Ltd
2MP IP Dome Camera 4MM Fixed Lens Make : Uniview | IPC3612LB-SF40-A | 2200 | 2024-06-12 |  | Uniview Technology (I) Pvt Ltd
2MP IP Bullet Camera 6MM Fixed Lens Make : Uniview | IPC2122LB-SF40-A | 2150 | 2024-07-09 |  | Uniview Technology (I) Pvt Ltd
16CH NVR with 2 Sata HDD Make : Uniview | NVR302-16S-P16 | 17500 | 2024-06-06 |  | Uniview Technology (I) Pvt Ltd
Cast Iron Butterfly Valve Wafer Type PN:16 Make - C&R 100mm Dia |  | 2470 | 2024-12-12 |  | Vipul International
Cast Iron Butterfly Valve Wafer Type PN:16 Make - C&R 50mm Dia |  | 1495 | 2024-12-12 |  | Vipul International
Cast Iron Butterfly Valve Wafer Type PN:16 Make - C&R 150mm Dia |  | 4160 | 2024-10-10 |  | Vipul International
Flow Switch Make: Honeywell | WFS6000 | 1400 | 2024-10-10 |  | Vipul International
Cast Iron Butterfly Valve Wafer Type PN:16 Make - C&R 80mm Dia |  | 1787 | 2024-04-22 |  | Vipul International
Cast Iron Butterfly Valve Wafer Type Gear Operated PN:16 Make - C&R 200mm Dia |  | 10125 | 2024-03-22 |  | Vipul International
Cast Iron Non Return Valve Dual Plate PN: 16 Make - C&R 200mm Dia |  | 8125 | 2024-03-22 |  | Vipul International
Cast Iron Non Return Valve Dual Plate PN: 16 Make - C&R 150mm Dia |  | 4875 | 2024-03-01 |  | Vipul International
Cast Iron Non Return Valve Dual Plate PN: 16 Make - C&R 100mm Dia |  | 2795 | 2024-03-01 |  | Vipul International
Cast Iron Non Return Valve Dual Plate PN: 16 Make - C&R 80mm Dia |  | 2210 | 2024-03-01 |  | Vipul International
CI Flanged Y Type Strainer PN 16 Undrilled with SS Mesh Make - Leader 150mm Dia |  | 14500 | 2024-03-01 |  | Vipul International
CI Flanged Y Type Strainer PN 16 Undrilled with SS Mesh Make - Leader 80mm Dia |  | 4750 | 2024-03-02 |  | Vipul International
2 MP IP DOME CAMERA 2.8mm Make : Hikvision | DS-2CD1323G0-I | 1656 | 2024-03-18 |  | Vulcan India
4 Port with PoE, Gigabit Network Switch (Unmanaged Switch) Make : Hikvision | DS-3E0105P-E/M(B) | 1425 | 2024-03-18 |  | Vulcan India
2MP IR Bullet Camera 3.6mm Fixed Lens Make : Hikvision | DS-2CE16D0T-ITPFS | 855 | 2024-03-18 |  | Vulcan India
4CH DVR with 1 SATA HDD Port Make : Hikvision | iDS-7104HQHI-M1/S | 2930 | 2024-03-27 |  | Vulcan India
2MP IR Dome Camera 2.8mm Fixed Lens Make : Hikvision | DS-2CE76D0T-ITPFS | 792 | 2024-03-27 |  | Vulcan India
16CH NVR with 2 SATA HDD Port without PoE Make : Hikvision | DS-7616NXI-K2 | 8784 | 2024-03-02 |  | Vulcan India
2 MP IP BULLET CAMERA 3.6mm Make : Hikvision | DS-2CD1023G0-I | 1685 | 2024-03-02 |  | Vulcan India
Analog Video Intercom KIT Make: Hikvision | DS-KIS204T | 3784 | 2024-02-19 |  | Vulcan India
16CH DVR with 1 SATA HDD Port Make : Hikvision | DS-7116HQHI-M1S | 7290 | 2023-12-30 |  | Vulcan India
Addressable Multisensor Detector with Base Make: Siemens | HFP-11 | 2750 | 2023-10-27 |  | Yastu Enterprises LLP
Addressable Control Module Make: Siemens | Xtri-r | 4500 | 2023-10-27 |  | Yastu Enterprises LLP